## Portable Emergency
PORTABLE EMERGENCY ENGINE DAILY LOG
( Max Allowance of Annual Operating Hours for Maintenance and Testing Is 60 Hours Per Year)
Company Name ________________ |  |  | Permit Number ________________ |  |  | Year ___________ |  | Month ___________
Date of Operation | Operator Initals | Operating Location | Engine Start Meter Reading (Hour) | Engine Finish Meter Reading (Hour) | Hours of Operation (Hour) | Operational Use1 | Specify the Operational Nature2 | School Name3
Total
Note:
1. Type of operational use includes maintenance and testing (M&T), emergency (EM) and emergency event (EE).
2. For emegency or emergency event operations, specify the nature of the emergency use and emergency event use, as a1, a2, b, c, d, e, f, EQ, FL, FR,and UE, based upon the following definitions:
An emergency is defined as providing electrical power or mechanical work during any of the following events and subject to the following conditions:
| a) | the failure or loss of all or part of normal electrical power service or normal natural gas supply to the facility, or the failure of a facility's internal power distribution system:
a1) which is caused by any reason other than the enforcement of a contractual obligation the owner or operator has with a third party or any other party; and,
a2) which is demonstrated by the owner or operator to the district to have been beyond the reasonable control of the owner or operator;
| b) | the pumping of water or sewage to prevent or mitigate a flood or sewage overflow;
| c) | the pumping of water for fire suppression or protection;
| d) | the pumping of water to maintain pressure in the water distribution system of a pipe break or high demand on water supply due to high use of water for fire suppression;
| e) | the breakdown of electrical-powered pumping equipment at sewage treatment facilities or water delivery facilities;
| f) | the training of personnel in the use of portable equipment for emergency purposes.
An emergency event is defined as a situation arising from a sudden and reasonably unforeseen natural disaster such as an earthquake (EQ), flood (FL), fire (FR), or other unforeseen event (UE) that requires the use of portable engines to alleviate the threat to public health and safety.
3. Complete the box, if the operating location is within 1,000 feet from the outer boundary of a school site, kindergarden through grade 12.